## Slide 1: From Switching Arcs to Ball Lightning to Curing Cancer. From Switching Arcs to Ball Lightning to Curing Cancer John. J. Lowke CSIRO Manufacturing, Sydney NSW, Australia

## Slide 2
Switching Arcs

## Slide 3
Before Current Zero
Specify dI/dT, rate of decrease of current
After Current Zero
Determine RRRV,
Maximum Rate of Rise of Recovery
for interruption
RRRV (rate of rise of recovery voltage)

## Slide 4
Air, SF6 and Pressure
SF6 is better than Air
Interruption improves with Pressure
Frind and Rich, IEEE Trans. PAS 93, 1675-1684 (1975)

## Slide 5
- ℥
Radiation

## Slide 6
Thermal Conductivity
Electrical Conductivity
Radiation
Enthalpy Density

## Slide 7
Critical RRRV Theory and Experiment
Early Values

## Slide 9
Use  = ne e W/E in energy balance equation
+ neαW
neαW = Ionization from electric field eg dielectric breakdown

## Slide 10
Evaluating 
= j/E = ne e W/E = ne e /E  (Ee/m)
= ne e2/[mc(ni Qi + N Q0)]
Qi ~ 100 Q0

## Slide 11
Electron Ionization and Attachment
 is ionization coefficient
 is attachment coefficient

## Slide 13
Welding Arc

## Slide 17
Ball Lightning
Inside of houses and aeroplanes

## Slide 18
Ball Lightning
Inside of houses and aeroplanes
Properties
Usually appears from closed glass windows – leaving no trace.
Brightness of a 100W incandescent light bulb.
About the size of an orange.
Lasts about 10 seconds.
Singlet delta oxygen metastables
a1Δg
Radiative lifetime ~ 1 hour
Detach electrons from O2-
Energy ~ 1 eV
Excitation Cross Section known
Quenching Lifetime ~ 1 s

## Slide 19
From Don Smith and Wilfried Heil

## Slide 22
Ionization and Attachment Coefficients in Air at 1 bar.

## Slide 25
Charges collected on Insulating Windows
amplify background fields
Field E
Field E
Field 2E
Field zero
e
e
e

## Slide 28
Equilibrium Particle Densities

## Slide 29
Particle Densities; 30 s;
Negative Ions, Positive Ions and Net Negative Charge

## Slide 30
Electric Field; Electron Density; Metastable Density; 30 s

## Slide 32
Successive discharge pulses accumulate metastables
(3)
(2)
(1)
(4)
_
_
_
_
Ionization
if E > 25
kV/cm
Ionization
Current Pulse
_
_
_
_
_
_
_
_
_
_
_
_
_
+
+
+
+
+
+
+
+
_
Negatives
Disperse
E < 25 kV/cm
Zero current
Positives
Disperse
E increases to (1)
Zero current
_
_
Outside
Inside
Window

## Slide 34
Particle Densities after accumulation of Metastables
Metastables, Electrons and Negative Ions

## Slide 35
Electric Field after accumulation of Metastables

## Slide 36
Negative Ion formation e + O2  O2-
nm/t = ni nm kD = ne no ka
= 1/ ni kD ~ 10 s for ni = 109 /cc
ne/ ni = nm kD/noka = 0.001 for nm = 1012/cc
need nm ~ 1017/cc for ne/ ni ~ 1
Thousands of Pulses
Detachment of Negative Ions O2- + O2*  2O2 + e
Equilibrium of electron attachment to form negative ions and
electron detachment from Negative Ions by metastables.

## Slide 37
Applied Physics Letters >
Volume 97, Issue 15 >
10.1063/1.3496041
Curing Cancer
Plasma Discharge
1 bar
3W
7 kV
13.56 MHz
He + O2

## Slide 38
Non-Thermal Plasmas (NTP)
Reduce Cancer Tumors!
M. Vandema et al, Int. J. et Cancer, 130(9), 2185, 2012

## Slide 39
Tumors in 5 mice
Plasma Sources Sci. Technol. 27 (2018) 01400

## Slide 41
1 mm hole
0.5 mm alumina separation plate
0.1 mm thick electrodes Mo; 1 kV
Microplasmas Sousa et al
Plasma Source Sc. and Tech.
22, 035012, 2013
Microplasmas Sousa et al
Plasma Source Sc. and Tech.
22, 035012, 2013

## Slide 42
Presentation title | Presenter name
42 |
Modelling the helium plasma jet delivery of
reactive species into a 3D cancer tumour
Endre J Szili1,2,11 , Jun-Seok Oh3,4,5,11 , Hideo Fukuhara6,11,12,
Rishabh Bhatia1,2, Nishtha Gaur1,2, Cuong K Nguyen1,2,7, Sung-Ha Hong1,2,
Satsuki Ito3, Kotaro Ogawa3, Chiaki Kawada6, Taro Shuin6,
Masayuki Tsuda8, Mutsuo Furihata9, Atsushi Kurabayashi9,
Hiroshi Furuta3,4, Masafumi Ito5, Keiji Inoue6, Akimitsu Hatta3,4,12 and
Robert D Short1,2,10,12
1 Future Industries Institute, University of South Australia, Adelaide, SA 5095, Australia
2 Wound Management Innovation Cooperative Research Centre, Australia
3 Department of Electronic & Photonic Systems Engineering, Kochi University of Technology, Kami,
Kochi 782-8502, Japan
4 Center for Nanotechnology, Research Institute of Kochi University of Technology, Kami, Kochi 782-
8502, Japan
5 Department of Electrical and Electronic Engineering, Meijo University, Naogya, 468-8502, Japan
6 Department of Urology, Kochi Medical School, Nankoku, Kochi, 783-8505, Japan
7 Faculty of Engineering Physics & Nanotechnology, Vietnam National University, 144 Xuan Thuy, Cau
Giay, Hanoi, Vietnam
8 Division of Laboratory Animal Science section of Life and Functional Materials, Kochi Medical School,
Nankoku, Kochi, 783-8505, Japan
9 Department of Pathology, Kochi Medical School, Kochi Medical School, Nankoku, Kochi, 783-8505, Japan
10 Materials Science Institute and Department of Chemistry, The University of Lancaster, City of Lancaster
LA1 4YW, United Kingdom
E-mail: fukuhara@kochi-u.ac.jp, hatta.akimitsu@kochi-tech.ac.jp and r.d.short1@lancaster.ac.uk
Received 4 September 2017, revised 14 November 2017
Accepted for publication 17 November 2017
Published 8 December 2017
Papers: 19 authors, 10 laboratories; 5 countries; 130 references
Plasma Sources Science and Technology 27 2018, 014001